## Tabelle1
plugin name | contained in official setup | 3rd party SDK required | 3rd party driver required | depends on another plugin | Bit | 3rd party SDK included in sources (in accordance to license or confirmation of manufacturer) | binaries of SDK shipped with setup (in lib-folder) | itom 3.1.0 (2018-01-19) |  |  |  | itom >3.1.0 (2019-03-26) |  |  |  | itom 4.0.0 (2020-04-20)
[8 empty] | Version SDK | tested | compiled | Note | Version SDK | Tested | Compiled | Note | Version SDK | Tested | Compiled | Note
AerotechA3200 | x | yes | ?? |  | 32 | static libraries included for 32bit (only) | yes (AeroBasic*.dll) | unknown |  | yes |  | unknown |  |  |  | unknown
aerotechEnsemble | x | yes | yes |  | 32/64 | SDK included, drivers not included (not allowed) | yes (Ensemble*.dll) | "4.6.1.10" |  | yes |  | "4.6.1.10" |  | yes |  | 4.6.1.10 |  | yes | is loading
AndorSDK3 | x | yes (Andor SDK3) | yes |  | 32/64 | no | yes (atcl_bitflow.dll, atcore.dll, atdevregcam.dll) | 3.8.30007.0 |  | yes |  | 3.8.30007.0 |  | yes |  | 3.8.30007.0 |  | yes | is loading
avantesAvaSpec | x | no | no | libUSB | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
avtVimba | x | yes | yes |  | 32/64 | no | yes (VimbaC.dll, VimbaCPP.dll) | 2.1.3. | no | yes |  | 2.1.3. |  | yes |  | 3.1.0 |  | yes | is loading
basicFilters | x | no | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
basicGPLFilters | x | no | no |  | 32/64 | - | no | [6 empty] | yes |  |  |  | yes | is loading
cmu1394 | x | no | yes (free from internet) |  | 32/64 | yes (header, library and runtime) - LGPL | yes (1394camera.dll) | 6.4.6.240 |  | yes |  | 6.4.6.240 |  | yes |  | 6.4.6.240 |  | yes | is loading
commonVisionBlox | x | yes (proprietary) | yes |  | 32/64 | no | no | 13.00.004 | no | yes |  | 13.01.006 |  | yes |  | 13.01.006 |  | yes | is loading
CyUSB | x | yes | yes |  | 32/64 | no | no | 1.3.3. |  | yes |  | 1.3.4. |  | yes |  | 1.3.4 |  | yes | is loading
dataObjectArithmetic | x | no | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
dataObjectIO | x | no | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
demoAlgorithms | x | no | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
dispWindow | x | Qt OpenGL | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
dummyGrabber | x | no | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
dummyMotor | x | no | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
DslrRemote | no |  |  |  | 32/64 |  | no |  |  | yes
DSLRRemote2 | no |  |  |  | 32/64 |  | no |  |  | yes
FFTWfilters | x | yes | no |  | 32/64 | no | yes (libfftw3-3.dll, libfftw3f-3.dll) | FFTW 3.3.5 | yes | yes |  | FFTW 3.3.5. |  | yes |  | FFTW 3.3.5. |  | yes | is loading
fileGrabber | x | no | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
fireGrabber | x | no | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes
FirgelliLAC | x | yes | yes |  | 32 | yes (header and runtime) | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
fittingFilters | x | no | no |  | 32/64 | - | yes (libblas.dll, libgcc*.dll, libgfortran*.dll, liblapack*.dll, libquadmath*.dll, libtmglib.dll, libwinpthread*.dll) |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
FringeProj | x | Qt OpenGL | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
genicam | x | yes | transport layer from camera manufacturer |  | 32/64 | no | yes (*_MD_VC120_v3_*.dll, CLSerCOM.dll) | 3.0.2 | yes | yes |  | 3.1.0. |  | yes |  | 3.2.0 |  | yes | is loading
glDisplay | x | Qt OpenGL | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
gwInstekPSP | x | no | no | serialIO | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
hidApi | x | hidApi | no |  | 32/64 | yes - will be compiled with plugin (BSD licensed) | no | 0.7.0 |  | yes |  | 0.7.0. |  | yes | . | 0.7.0 |  | yes | is loading
Holography | no | no |  |  | 32/64 |  | no |  |  | yes
IDSuEyeCamera | x | yes | yes |  | 32/64 | optionally, yes (header and library only) | no | 4.90.3 | yes | yes |  | 4.91. |  | yes |  | 4.93 |  | yes | is loading
leicaMotorFocus | x | no | no | serialIO | 32/64 | - | no |  |  | yes |  |  |  | yes |  |  |  | yes | is loading
LibModBus | x | no | no |  | 32/64 | yes - sources (GPL) of libmodbus will be compiled with plugin | no | 3.1.2. |  | yes |  | 3.1.2. |  | yes |  | 3.1.2 |  | yes | is loading
libUSB | x | yes | yes |  | 32/64 | no | no | 1.0.21 |  | yes |  | 1.0.22 |  | yes |  | 1.0.23 |  | yes | is loading
MeasurementComputing | x | yes | yes |  | 32/64 | no | yes (cbw*.dll) |  | yes | yes |  | CBW library version 1.89 |  | yes | CBW library version 1.89 |  |  | yes | is loading
msMediaFoundation | x | no | no |  | 32/64 | - | no |  |  | yes |  |  |  | yes |  |  |  | yes | is loading
NanotecStepMotor | x | no | no | serialIO | 32/64 | - | no |  |  | yes |  |  |  | yes |  |  |  | yes | is loading
Newport2936 | x | yes | yes |  | 32/64 | no | no | 4.2.2. |  |  |  | 5.0.8. |  | yes |  | 5.0.8 |  | yes | is loading
NewportSMC100 | x | no | no | serialIO | 32/64 | no | no | [6 empty] | yes |  |  |  | yes | is loading
NI-DAQmx | x | yes | yes (NIDAQmx) |  | 32/64 | no | no | "17.6.0" |  |  |  | 18.6. |  | yes |  | 19.6 |  | yes | is loading
NITWidySWIR | x | yes | yes (NITLibrary + OpenCV 2.49) |  | 32/64 | no | yes (NITLibrary.dll) | "1.5" | yes | yes |  | "1.5" |  | yes |  | 1.5 |  | yes | is loading
openCVFilters | x | OpenCV (default) | no |  | 32/64 | - | no | "3.20.0" | yes | yes |  | "3.20.0" |  | yes |  | 4.20 |  | yes | is loading
openCVFiltersNonFree | no | yes |  |  | 32/64 |  | no | "3.20.0" | no | no | [8 empty] | is loading
openCVGrabber | x | OpenCV (default) | no |  | 32/64 | - | no | "3.20.0" | yes | yes |  | "3.20.0" |  | yes |  | 4.20 |  | yes | is loading
pclTools | x | PCL (default) | no |  | 32/64 | - | no | "1.8.0" | yes | yes |  | "1.8.0" |  | yes | bleibt bei alter Version | 1.8.0 |  | yes | is loading
pcoCamera | x | yes | yes (pco.sdk) |  | 32/64 | no | no | "1.23" |  | yes |  | 1.24. |  | yes |  | 1.25 |  | yes | is loading
pcoPixelFly | x | yes | yes (pco.pixelfly qe drivers) |  | 32/64 | yes (only header files) | no | 2.01.03. |  | yes |  | 2.01.03. |  | yes |  | 2.01.03 |  | yes | is loading
pcoSensicam | x | yes | yes (pco.sensicam) |  | 32/64 | no | yes (SC2_Cam.dll) | 6.01.04. | yes | yes |  | 6.01.04. |  | yes |  | 6.01.04. |  | yes | is loading
pgrFlyCapture | x | yes | yes (FlyCapture SDK) |  | 32/64 | no | yes (FlyCapture2_*.dll, libiomp5md.dll) | "2.11.3.425" | yes | yes |  | 2.13.3.31 |  | yes | dll anpassen (neue Version: 2.13.3.31) | 2.13.3.61 |  | yes | is loading
piezosystemJena_NV40_1 | x | no | no | serialIO | 32/64 | - | no |  |  | yes |  |  |  | yes |  |  |  | yes | is loading
PIHexapodCtrl | [13 empty] | yes |  |  |  | yes | is loading
piPiezoCtrl | x | no | no | serialIO | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
piGCS2 | x | yes | no |  | 32/64 | yes (header, library and runtime) | yes (PI_GCS2_DLL_*.dll) |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
pmdPico | x | yes |  |  | 32/64 |  | no | "3.11.0.42" | yes | yes |  | 3.21.1.70 |  | yes |  | 3.21.1.70 |  | yes | is loading
qCam | x | yes | yes |  | 32/64 | yes (header, library) | no | "2.0.13.1" |  | yes |  | "2.0.13.1" |  | yes |  | 2.0.13.1 |  | yes | is loading
rawImport | x | yes (dcraw) | no |  | 32/64 | yes (dcraw, compiled with plugin) | yes (dcraw.exe) |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
roughness | x | no | no |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
serialIO | x | no |  |  | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
ST8SMC4USB (Standa) | x | yes | yes |  | 32/64 | yes | yes (libximc.dll) |  |  | yes |  |  |  | yes |  |  |  | yes | is loading
SuperlumBL | x | no | no | serialIO | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
SuperlumBS | x | no | no | serialIO | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
ThorlabsBP | x | yes | yes (Kinesis) |  | 32/64 | no | yes (Thorlabs.MotionControl.*.dll) | "1.14.5" |  | yes | Kinesis | 1.14.15 |  | yes | Kinesis | 1.14.23 |  | yes | is loading
ThorlabsDCxCam | no | yes |  |  | 32/64 |  | no | "4.20" | yes | yes
thorlabsCCS | x | yes | yes (Thorlabs, IVI, VISA) |  | 32/64 | no | no | "2.80" | yes | yes |  | 2.85. |  | yes |  | 2.90 |  | yes | is loading
ThorlabsISM | x | yes | yes (Kinesis) |  | 32/64 | no | yes (Thorlabs.MotionControl.*.dll) | "1.14.5" |  | yes | Kinesis | 1.14.15 |  | yes | Kinesis | 1.14.23 |  | yes | is loading
ThorlabsKCubePA | x | yes | yes (Kinesis) |  | 32/64 | no | yes (Thorlabs.MotionControl.*.dll) |  |  |  | Kinesis | 1.14.15 |  | yes | Kinesis | 1.14.23 |  | yes | is loading
thorlabsPowerMeter | x | yes | yes (Thorlabs PM100 VISA) |  | 32/64 | no | no | "1.0.2" |  | yes | Version "1.0.2" is the current version. Thorlabs reduces from V3 to V1 | 1.1. |  | yes | Thorlabs Optical Power Monitor Version 1.1 | 2.2 |  | yes | is loading
uhlRegister | x | no | no | serialIO | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
uhlText | x | no | no | serialIO | 32/64 | - | no |  | yes | yes |  |  |  | yes |  |  |  | yes | is loading
usbMotion3XIII | x | no | no |  | 32/64 | yes | yes (USB3xIII*.dll in plugin directory) | 2.1.0 | yes | yes |  | 2.1.0. |  | yes |  | 2.1.0 |  | yes | is loading
v4l2 | no |  |  |  | 32/64 (linux only) |  | no |  |  | yes
vistek | x | yes | yes |  | 32/64 | yes (header and runtime) | yes (SVGigE*.dll) | 1.5.2.251 | yes | yes |  | 1.5.2.251 |  | yes | unklar woher dll, bleibt bei alter Version (neue Version wäre 1.5.6) |  |  |  | is loading
VRMagic | x | yes | yes (VRmUsbCamSDK) |  | 32/64 | no | yes (vrmusbcam2.dll) | "4.5.0" | yes | yes |  | "4.5.0" |  | yes |  | 4.5.0 |  | yes | is loading
x3pio | x | yes | no |  | 32/64 | no | yes (iso5436_2.xsd, xerces-c*.dll, iso5436-2-xml*.dll) | "4.0.0" | yes | yes |  | "4.0.0" |  | yes |  | 4.0.0 |  | yes | is loading
ximea | x | yes | yes |  | 32/64 | no | yes (xiapi.dll, m3api*.dll) | "4.15" | yes | yes |  | 4.16. |  | yes |  | 4.18.04 |  | yes | is loading